## Introduction
This checklist shall allow healthcare workers and programme managers to identify the gaps in the implementation status of a green and climate resilient (GCR) healthcare facility. The broad domains considered in this checklist are Water management, Waste Management, Energy conservation, Green building, smart building and Climate Resilience measures. This assessment will help healthcare workers and programme managers to ensure optimum utilization of available resources for development of GCR facilities, which will be able to safeguard human health against climate change and will have minimal detrimental impact on the environment.
Note: 1. This tool has been developed for the assessment of health facilities which are to be developed as Green and Climate Resilient Health Facilities. 2. Indicators have been identified in compliance with IPHS, 2022, Kayakalp and NPCCHH guidelines. 3. Other guiding documents (Rules/Act/Standards) referred to include: BMW Rules, 2016 for waste management measures, EPA Rules, 1986 for water quality standards, Ozone Depleting Substances (Rules and Regulations), 2000 to identify phased out refrigerants, IS 17650 (Part 1 and Part II): 2021 for Water Efficient Plumbing and sanitary fixtures Steps for Baseline Assessment: 1. Baseline assessment shall be conducted against the five thematic areas: Water, Waste, Energy, Smart-Green building and Climate Resilient measures. 2. Indicators have been developed specific to facility type as per IPHS, 2022 norms. 3. Scores shall be calculated automatically in the scoring sheet after the completion of assessment. 4. Facility shall be graded based on assessment between grade 4 to grade 1, where a grade 4 facility will be considered as least climate vulnerable and highly sustainable and a grade 1 facility will be considered as severely climate vulnerable and least sustainable

## General Info
GCR Assessment Form
S. No | Particulars | Details
1 | Name of the Health Centre visited
2 | Name of Health Facility Incharge
3 | Designation of Incharge
4 | Phone No. and Email ID of Incharge
5 | Date of assessment
6 | Address of the health facility visited
7 | Village/Town
8 | Taluka
9 | District
10 | State
11 | Pin Code
12 | GPS coordinates of the facility
13 | Has the facility been Kayakalp certified within the last three years? | Yes/No
14 | Has the facility been NQAS certified within the last three years? | Yes/No
15 | Type of health facility | SC/PHC/CHC/SDH/DH
16 | Construction year of facility
17 | Name of the assessor
18 | Designation of the assessor

## Facility Particulars
GCR Assessment Form
S. No | Particulars | Details
1 | No. of Beds in the facility
2 | Specify the source of water in the facility | Tankers | Groundwater | Municipal Supply
3 | Wastewater generated in facility | KLD
4 | Wastewater treatment method available in facility | ETP | Septic tank/Soak Pits | Biodigester (Hint: New construction is not recommended)
5 | BMW treatment method in facility | Burial Pits | Agreement with CBMWTF | Auxillary Vaccine Delivery
6 | Select the type of solar panel installed | On Grid | Off Grid | Hybrid
7 | Energy demand of facility as per sanctioned load (as mentioned in energy bill) | KWh
8 | At what altitude is your healthcare facility located | Below mean sea level(low lying plains) | 0-1000 ft above mean sea level, | 1000-5000 ft above mean sea level | Beyond 5000 ft above mean sea level
9 | How far is your healthcare facility from your nearest coastline | >20km | 10-20km | 5-10km | 1-5km | 0-1km
10 | How far is the healthcare facility from a water body such as river/channel/lake/canal or estuary | >4km | 3-4km | 2-3km | 1-2km | 0-1km
11 | In case of flash flood/flood/heavy rainfall does the hospital premise or surroundings usually stay inundated? | Yes/No
12 | Which of the following levels of damage best describe the impact of past disasters on the healthcare facility's infrastructure? | very low : Fine cracks in plaster; fall of small pieces of plaster (about 10% of wall area) | low: Fall of fairly large pieces of plaster (say upto 50% of wall area); small cracks in walls (less that 6mm wide) | moderate: Large and deep cracks in walls; loss of belongings; damage of electrical fittings. | high: Large and deep cracks in walls; loss of belongings; damage of electrical fittings. | very high: Including collapse of buildings; floating away of sheets, thatch, etc.; scouring of foundations, severe damage of lifeline structures and systems.
13 | Which of the following levels of damage best describe the impact of past disasters on the healthcare facility's operations/infrastructure? | Low impact: Access to only essential health services at the healthcare facility. | Moderate impact: Access to only OPD or referral/outreach services. | High impact: Facility not able to provide any health service.
14 | Is the facility connected to motorable roads all year round? | Yes/No
15 | How far is your nearest referral healthcare facility? | >20km (very far) | 10-20km (far) | 5-10km (accessible by public transport) | 1-5km (nearby, | 0-1km (very near, walking distance)
16 | When was the last occurrence of cyclones in the facility catchment area? | Never occurred | Current year | 1-2 years ago | More than 3 years ago
17 | When was the last occurrence of floods in the facility catchment area? | Never occurred | Current year | 1-2 years ago | More than 3 years ago
18 | When was the last occurrence of thunder storm and lightning in the facility catchment area which led to damage to infrastructure? | Never occurred | Current year | 1-2 years ago | More than 3 years ago
19 | When was the last occurrence of heatwave in the facility catchment area? | Never occurred | Current year | 1-2 years ago | More than 3 years ago
20 | When was the last occurrence of droughts in the facility catchment area? | Never occurred | Current year | 1-2 years ago | More than 3 years ago
21 | When was the last occurrence of earthquake in the facility catchment area? | Never occurred | Current year | 1-2 years ago | More than 3 years ago
22 | How many outbreaks of waterborne diseases were observed in the facility catchment area in last 3 years? | Never occurred | 1 to 5 | 5 to 10 | more than 10
23 | How many outbreaks of vector borne diseases were observed in the facility catchment area in last 3 years? | Never occurred | 1 to 5 | 5 to 10 | more than 10
24 | Which seismic zone does the healthcare facility fall in? | Unknown/Seismic Zone I | Seismic Zone II | Seismic Zone III | Seismic Zone IV | known/Seismic Zone V
25 | Which landslide zone does the healthcare facility fall in as per this map? https://www.bmtpc.org/topics.aspx? mid=56&Mid1=186 | Unlikely | Low Risk zone | Moderate risk zone | High risk zone | Very high risk zone
26 | Has the healthcare facility or its surrounding regions observed a landslide in the last five years? | No never | Before 5 years | Once in last five years | Twice in last five years | More than once in last 5 years
27 | On an average, how much does the healthcare facility spend yearly on structural maintenance and retrofitting measures? (INR) State level - Infrastructure cell | <5,000 | 5,000-10,000 | 10,000-20,000 | 20,000-50,000 | >50,000
28 | What is the average monthly footfall at the health facility in the last 1 year? | In absolute numbers
29 | What is the average monthly footfall at the health facility during and upto 1 month after any extreme weather event which took place in the last 1 year? | In absolute numbers

## Checklist
GCR Assessment Tool
S.No. | Services | Verification Method | Verification steps | Responses | Scoring Criteria | Applicable at | Score | Comments
A. | Energy Efficiency and Solarization | [5 empty] | 25
A.1 | Energy Efficiency | [5 empty] | 15
A1.1 | Status of installation of LED lights in the facility | OB | Method: Percentage of LED lights installed = Number of LED lights/ Total lights *100 (LED lights are more energy-efficient compared to incandescent and fluorescent lights.) | No. of LED Lights installed in the facility: Total No. of Lights installed in the facility: | For SC Fully Complied (>75% of lights replaced)= 2 Partially complied (40-75% of lights replaced) = 1 Not Complied (<40% of lights replaced) = 0 For PHC, CHC, SDH and DH Fully Complied (>90% of lights replaced)= 2 Partially complied (50-90% of lights replaced) = 1 Not Complied (<50% of lights replaced) = 0 | SC, PHC, CHC, SDH and DH | 1
A1.2 | Use of eco-friendly cooling appliances in the facility | OB | Method: Check the manufacturing date of the equipment* installed in the rooms such as Laboratory, OT, Labour room, ICU, Blood bank, Cold chain and Immunization, 1. If manufacturing year of equipment is after 2010, equipment will be using CFC free refrigerant and shall be considered as compliant with the Ozone Depleting Substance (Regulation and Control) Amendment Rules, 2014 2. If manufacturing year of equipment is prior to 2010, equipment may be using CFC refrigerants. Check the information available on the equipment regarding type of refrigerant used. Note: The following common CFC refrigerants have been phased out since 2010 and are not recommended for use by Moefcc: R-11, R-12, R-13, R-111, R-112, R-113, R-114, R-115, R-115, R-211, R-212, R-213, R-214, R-215, R-216 and R-217 *List of equipment using refrigerants: Process cooling, chiller, high/med/low temp refrigerator, ILR, residential/commercial AC CFC (Chloro Fluoro Carbon)-free refrigerants have lesser global warming potential (GWP) or less potent ozone depleting. | No. of cooling appliances with CFC free refrigerant: Total no. of cooling appliances : | For SC Fully Complied (>75% of appliances are CFC free)= 2 Partially complied (40-75% of appliances are CFC free) = 1 Not Complied (<40% of appliances are CFC free) = 0 For PHC, CHC, SDH and DH Fully Complied (>90% of appliances are CFC free)= 2 Partially complied (50-90% of appliances are CFC free) = 1 Not Complied (<50% of appliances are CFC free) = 0 | SC, PHC, CHC, SDH and DH | 2
A1.3 | Availability of energy efficient electrical appliances in the facility | OB | Method: Check the star rating for the electrical appliances* as per Bureau of Energy Efficiency (BEE) in the facility Record the percentage of electrical appliances with 3 or 3+ BEE star rating against the total number of electrical appliances in the facility Equipments with 3 Star and above will be considered as energy efficient. *List of appliances to be checked for BEE rating: Refrigerators, Heaters, LCD screen, Air Conditioner | No. of energy efficient electrical equipment in specified rooms: Total no. of electrical equipment in specified rooms: | For SC Fully Complied (>75% of facility equipment are rated 3 star and above)= 2 Partially complied (40-75% of of facility equipment are rated 3 star and above) = 1 Not Complied (<40% of facility equipment are rated 3 star and above) = 0 For PHC, CHC, SDH and DH Fully Complied (>90% of facility equipment are rated 3 star and above)= 2 Partially complied (50-90% of facility equipment are rated 3 star and above) = 1 Not Complied (<50% of facility equipment are rated 3 star and above) = 0 | SC, PHC, CHC, SDH and DH | 2
A1.4 | Availability of sufficient natural light in the facility | OB | Method: The light intensity in the room with windows can be determined using an illuminance-based app that works on proximity sensors of smartphones. Link of one of the app is as follows: https://play.google.com/store/apps/details?id=com.doggoapps.luxlight Any other app can also be used for the same. The illumination should be 150-300 Lux at Nursing station and 100 Lux in the wards and toilets. Record the total number of rooms with sufficient natural illumination against the total number of rooms with exterior facing windows. | No. of rooms with sufficient natural light: Total no. of rooms with exterior facing windows: | For SC Fully Complied (>75% of rooms with exterior facing windows have sufficient natural light)= 2 Partially complied (40-75% of rooms with exterior facing windows have sufficient natural light) = 1 Not Complied (<40% of rooms with exterior facing windows have sufficient natural light) = 0 For PHC, CHC, SDH and DH Fully Complied (>90% of rooms with exterior facing windows have sufficient natural light)= 2 Partially complied (50-90% of rooms with exterior facing windows have sufficient natural light) = 1 Not Complied (<50% of rooms with exterior facing windows have sufficient natural light) = 0 | SC, PHC, CHC, SDH and DH | 2
A1.5 | Availability of Occupancy Sensors (Motion Sensor) lighting in facility | OB | Method: Check if the lighting installed in identified areas like toilets, corridors, staircases and storerooms. Record the total number of lights in the common area that have occupancy sensors against the total number of lights in common area. (Occupancy sensors detect motion and automatically switch the lights on/off based on the presence or absence of people within a room.) | No. of lights connected with occupancy sensors: Total no. of lights in identified area: | For SC Fully Complied (>75% of lights in identified area connected with sensors)= 2 Partially complied (40-75% of lights in identified area connected with sensors) = 1 Not Complied (<40% of lights in identified area connected with sensors) = 0 For PHC, CHC, SDH and DH Fully Complied (>90% of lights in identified area connected with sensors)= 2 Partially complied (50-90% of lights in identified area connected with sensors) = 1 Not Complied (<50% of lights in identified area connected with sensors) = 0 | SC, PHC, CHC, SDH and DH | 2
A1.6 | Energy audit conducted in the facility | RR | Record: Check the audit document and date of audit . | Energy audit conducted: Yes/No Date of last energy audit: | Only for PHC, CHC, SDH and DH Completed once in last 2 years = 2 No Audit done till date or older than 2 years = 0 | PHC, CHC, SDH and DH | 2
A1.7 | Installation of stabilizers/sub-meter to optimize the energy consumption in the facility | OB | Method: Check the sub-meters installed for high energy consumption rooms or for Stabilizers connected with equipments having load greater than 2kWh. Record the appliances connected with stablizer or sub-meter against the total number of appliances with load greater than 2kWh such as ICU, labour room, radiology, emergency, cold chain and immunization. (Sub-meter or stablizers are used to optimize the energy consumption.) | No. of equipment with stabilizers: Total no. of equipment with load >2kWh: | Only for PHC, CHC, SDH and DH Fully Complied (>90% of high energy consuming equipment are optimized)= 2 Partially complied (50-90% of high energy consuming equipment are optimized) = 1 Not Complied (<50% of high energy consuming equipment are optimized) = 0 | PHC, CHC, SDH and DH | 2
A1.8 | Availability of energy efficient Heating, ventilation and air conditioning (HVAC) system | OB | Method: Check if the HVAC system installed in the facility is able to adjust temperature settings based on room occupancy to optimize energy usage. (If HVAC is available then D 3.1 shall not be applicable to the facility) | HVAC available: Yes/No | Only for CHC, SDH and DH HVAC system installed in the facility = 2 HVAC system not installed in the facility = 0 | CHC, SDH and DH | 2
A2. | Energy Generation | [5 empty] | 4
A2.1 | Availability of functional solar panel system | OB | Method: Centralized solar panels could be installed over the roof, free land (if available) or integrated. Check the functionality with the installed meters and inverter. | Available, Yes/No: Functional, Yes/No: | For all type of facilities Fully Complied (Available and functional)= 2 Partially Complied (Available but not functional)/ (Installation in process) = 1 Not Complied (Not available) = 0 | SC, PHC, CHC, SDH and DH | 2
A2.2 | Capacity of the installed solar panels | RR | Method: Check the sanctioned electricity load (electricity demand) in latest electricity bill and check the capacity of solar plant. Capacity of the solar plant should be equivalent to energy requirement of the facility to make the facility operate during electrical shortfall. | Capacity of Solar plant: Energy demand of facility (sanctioned load): | For all type of facilities Fully Complied (Installed capacity is >90% of energy demand)= 2 Partially Complied (Installed capacity is 50-90% of energy demand)= 1 Not Complied (Installed capacity is <50% of energy demand) = 0 | SC, PHC, CHC, SDH and DH | 2
A3. | Knowledge and Capacity Building | [5 empty] | 6
A3.1 | Display of IEC materials on energy conservation measures | OB | Method: Observe if there are IEC materials on energy conservation displayed in the facility approved by MoHFW/MoEFCC/MeitY. | Relevant IEC displayed in the facility: Yes/No | For all type of facilities Fully Complied (At least one relevant IEC material on energy conservation displayed within facility)= 2 Not Complied (No relevant IEC material on energy conservation displayed within facility) = 0 | SC, PHC, CHC, SDH and DH | 2
A3.2 | Establishment of committee for implementation of energy conservation measures | RR | Method: Check for records of the Infection prevention and control committee for activities implemented under the Energy conservation programme. The infection prevention and control committee shall also be responsible for the implementation of the energy conservation programme. A nodal person shall be identified for this from the health facility. | Committee established: Yes/No Date of last meeting: | For all type of facilities Committee was established and meeting conducted annually = 2 Committee was established but meeting not conducted within last one year= 1 Committee not established = 0 | SC, PHC, CHC, SDH and DH | 2
A3.3 | Training programme for healthcare staff on Energy and Water Conservation, Waste Management and development of green and climate resilient health facility in last one year | RR | Method: Enquire with the MO about the medical staff undergone training on GCR measures or check District level training records for last one year. | No. of staff trained: Total no. of staff to be trained: | For SC Fully Complied (>75% of staff trained)= 2 Partially complied (40-75% of staff trained) = 1 Not Complied (<40% of staff trained) = 0 For PHC, CHC, SDH and DH Fully Complied (>90% of staff trained)= 2 Partially complied (50-90% of staff trained) = 1 Not Complied (<50% of staff trained) = 0 | SC, PHC, CHC, SDH and DH | 2
B. | Water Management | [5 empty] | 30
B1. | Water Quality | [5 empty] | 8
B1.1 | Optimal utilization of water in the facility | OB/RR | Record Review: Record the current water meter reading and previous bills of last 1 year. If bills are not available: Check the total capacity of water storage tanks (litre) and frequency of refilling of storage tanks. | Monthly water consumption as per water bill: Or Capacity of water storage tanks: Frequency of filling tanks: No. of beds in the facility: | For PHC & lower facility Water ≤ 340 l/b/d = 2 400 ≥ Water ≥ 340 l/b/d = 1 Water ≥ 400 l/b/d = 0 For CHC & upper facility Water ≤ 450 l/b/d = 2 540 ≥ Water ≥ 450 l/b/d = 1 Water ≥ 540 l/b/d = 0 (l/b/d = Litre per bed per day) | SC, PHC, CHC, SDH and DH | 2
B1.2 | Testing of water samples in the facility | RR | Method: Check the water testing reports and parameters being monitored. The recommended frequency of testing is semi annually. | Water sample tested: Yes/No If yes, Date of sample testing: | For all type of facilities Water quality tested using H2S strips semi-annually =2 Water quality tested using H2S strips annually =1 No testing done or test report older than 1 year=0 | SC, PHC, CHC, SDH and DH | 2
B1.3 | Treatment of water before consumption | OB | Method: Observe the treatment plant commissioned in the facility. Check the log book records to determine the daily usage of treatment plant. Applicable if water samples do not meet drinking water quality standards | Water quality meets the desired standards (As per test conducted within six month): Yes/No If No, Water treatment plant found functional: Yes/No | For all type of facilities Water treatment plant installed and functional = 2 Water treatment plant installed but not functional = 1 Water treatment plant not installed = 0 | SC, PHC, CHC, SDH and DH | 2
B1.4 | Is the water storage tank (s)cleaned regularly? | RR and OB | Method: Check the water tank cleaning logbook for frequency cleaning and check storage tanks for any visible impurities such as silt or any algal growth. | Water tank found clean: Yes/No Date of last cleaning: | For all type of facilities No visible impurities seen in tank and water tanks are cleaned in last six months = 2 No visible impurities seen in tank but water tanks are cleaned more than six months back = 1 Visible impurities found in water tanks = 0 | SC, PHC, CHC, SDH and DH | 2
B2. | Water Conservation | [5 empty] | 10
B2.1 | Status of water audit | RR | Method: Check the audit document and frequency of auditing. | Audit conducted: Yes/No Date of last water audit: | For PHC, CHC, SDH and DH Water audit done in last 1 year = 2 Water audit done within 3 years = 1 No water audit done till date or older than 3 years = 0 | PHC, CHC, SDH and DH | 2
B2.2 | Installation of Rain Water Harvesting (RWH) system | OB | Method: Check the RWH plant installed in the facility. | RWH system installed: Yes/No | For all type of facilities RWH system installed and functional = 2 RWH system installed and not functional/ installation in process =1 No RWH system installed = 0 | SC, PHC, CHC, SDH and DH | 2
B2.3 | Installation of water efficient faucets | OB | Method: Observe the water efficient (low-volume) faucets fitted in the facility and the total number of faucets in the facility. Check IS 17650 (Part 1 and Part II): 2021 Water Efficient Plumbing Products Requirements. Faucets are commonly used in Laboratories, bathrooms, kitchens, toilets, cleaning areas and other areas. | No. of water efficient faucets in the facility: Total no. of faucets in the facility: | For SC More than 75% of faucets are water efficient = 2 40-75% of faucets are water efficient = 1 <40% of faucets are water efficient = 0 For PHC, CHC, SDH and DH More than 90% of faucets are water efficient = 2 50-90% of faucets are water efficient = 1 <50% of faucets are water efficient = 0 | SC, PHC, CHC, SDH and DH | 2
B2.4 | Installation of water efficient sanitary fittings | OB | Method: Observe whether toilet flushing tanks are dual flush water tanks or single flush tanks and the total number of flush tanks in the facility. Check IS 17650 (Part 1 and Part II): 2021 Water Efficient Plumbing Products Requirements. Dual buttons flush tanks are provided for flushing, for use as per requirement, e.g., partial flush and full flush, which will save about 40% of flushing water. | No. of flush tank with dual arrangement in the facility: Total No. of flush tanks in the facility: | For SC More than 75% of flush tanks have dual arrangement = 2 40-75% of flush tanks have dual arrangement = 1 <40% of flush tanks have dual arrangement = 0 For PHC, CHC, SDH and DH More than 90% of flush tanks have dual arrangement = 2 50-90% of flush tanks have dual arrangement = 1 <50% of flush tanks have dual arrangement = 0 | SC, PHC, CHC, SDH and DH | 2
B2.5 | Monitoring of plumbing fixtures for detection of leaks | RR and OB | Method: Check the plumbing maintenance record of facility. and observe the taps, pipes at bends, sanitary fittings to detect leaks | Plumbing maintenance record availale: Yes/No Leak observed in facility: Yes/No | For all type of facilities Leakage not observed and plumbing maintenance record available=2 Leakage not observed but plumbing maintenance record not available=1 Leakage observed in the facility (irrespective of availability of plumbing maintenance record) = 0 | SC, PHC, CHC, SDH and DH | 2
B3. | Wastewater Treatment | [5 empty] | 8
B3.1 | Installation of Effluent Treatment Plant (ETP) | OB | Method: Observe the effluent treatment plant commissioned in the facility. ETP shall be desired in all bedded facilities. | ETP Installed: Yes/No ETP functional: Yes/No Capacity of ETP (in KLD): | For PHC, CHC, SDH and DH ETP installed and functional = 2 ETP installed but not functional = 1 ETP not installed in the facility = 0 | PHC, CHC, SDH and DH | 2
B3.2 | Status of compliance to discharge standards for ETP | RR | Method: Check the effluent testing report of ETP. Effluent needs to be tested semi-annually from government-recognised laboratories. | Effluent test conducted in last six months :Yes/No ETP conform to discharge standards: Yes/No | For PHC, CHC, SDH and DH Effluent test performed in last six months and report confirming to discharge standards of EPA 1986, Schedule VI=2 Effluent testing report not confirming to discharge standards of EPA 1986, Schedule VI=0 | PHC, CHC, SDH and DH | 2
B3.3 | Utilization of treated wastewater | OB | Method: Calculate the total water demand the facility based on number of beds installed and compare with the water consumption. The difference between standard water demand for the facility (As per BIS 1172:1993) and actual water consumption shall be considered as water demand to be met by effluent generated from ETP. Amount of treated water recirculated in the facility can be observed by reading dial gauge connected to the ETP. Treated water could be utilized in laundry, flushing, gardening, RWH and Washing floors. | Capacity of water storage tanks: Frequency of filling in a day: Operational capacity of ETP: | For PHC, CHC, SDH and DH More than 90% of treated effluent water is recirculated = 2 50-90% of treated effluent is recirculated = 1 <50% of treated effluent is recirculated= 0 | PHC, CHC, SDH and DH | 2
B3.4 | Availability of septic tank/soak pit for disposal of wastewater | OB | Method: Observe the septic tank/soak pit (either single or double tank system). Applicable to non-bedded facilities. | Septic tank/Soak pit constructed in the facility: Yes/No | For SC and PHC Septic tank/soak pit installed for wastewater treatment = 2 No septic tank/soak pit installed = 0 | SC, PHC (Non-bedded) | 2
B4. | Knowledge and Capacity Building | [5 empty] | 4
B4.1 | Establishment of committee for implementation of water conservation measures | RR | Method: Check for records of the Infection prevention and control committee for activities implemented under the water conservation measures. The infection prevention and control committee shall also be responsible for the implementation of the water conservation programme. A nodal person shall be identified for this from the health facility. | Committee established: Yes/No Date of last meeting: | For all type of facilities Committee was established and meeting conducted annually = 2 Committee was established but meeting not conducted within last one year= 1 Committee not established = 0 | SC, PHC, CHC, SDH and DH | 2
B4.2 | Display of IEC material on water conservation measures | OB | Method: Observe if there are IEC materials on water conservation displayed in the facility approved by MoHFW/MoEFCC/MoJS. | Relevant IEC displayed in the facility: Yes/No | For all types of facilities Fully Complied (At least one relevant IEC material on water conservation displayed within facility)= 2 Not Complied (No relevant IEC material on water conservation displayed within facility) = 0 | SC, PHC, CHC, SDH and DH | 2
C. | Waste Management | [5 empty] | 26
C1. | Waste Minimization | [5 empty] | 6
C1.1 | Status of waste audit | RR | Method: Check the audit document and frequency of auditing. | Audit conducted: Yes/No Date of last waste audit: | For all types of facilities Waste audit done in last six months = 2 Waste audit done between six months to one year = 1 No waste audit done till date or older than one year = 0 | SC, PHC, CHC, SDH and DH | 2
C1.2 | Segregation of Biomedical Waste | OB | Method: Observe the different colour bins at potential waste generation areas (such as dressing room, IPD, OT, Laboratory, Labour room, ICU, immunization room) | Rooms segregating the BMW: Total no. of room generating BMW: | For all types of facilities More than 90% of the identified rooms have separate bins for 4 categories of BMW = 2 50-90% of the identified rooms have separate bins for 4 categories of BMW= 1 Less than 50% of the identified rooms have separate bins for 4 categories of BMW= 0 | SC, PHC, CHC, SDH and DH | 2
C1.3 | Segregation of Recyclable and Biodegradable Wastes | OB | Method: Observe the different colour bins at potential waste generation areas (such as OPD, Patient Waiting Area, Pharmacy, Office, Cafeteria) | Rooms segregating the recyclable and biodegradable waste: Total no. of room generating recyclable and biodegradable waste: | For all types of facilities More than 90% of the identified rooms have separate bins for recyclable and biodegradable waste = 2 50-90% of the identified rooms have separate bins for recyclable and biodegradable waste = 1 Less than 50% of the identified rooms have separate bins for recyclable and biodegradable waste = 0 | SC, PHC, CHC, SDH and DH | 2
C2. | Waste Handling and Treatment | [5 empty] | 16
C2.1 | BMW collection from health facility | OB | Method: Observe the room for collection and storage of waste. The storage area should be dry and away from wards. Collection shall be performed using PPE kits as per BMW Rules. | Waste collection room available: Yes/No Log book maintained: Yes/No | For all types of facilities Separate room for waste storage available and log book maintained = 2 Separate room for waste storage available but log book not maintained = 1 No separate room for waste collection = 0 | SC, PHC, CHC, SDH and DH | 2
C2.2 | Collection of BMW by common bio-medical waste treatment facility (CBMWTF). | RR | Method: Check the agreement on the disbursement of BMW with CBMWTF Applicable IF CBMWTF is within 75 km | Waste collection record available: Yes/No Log book maintained: Yes/No | For all types of facilities Waste collection done by CBMWTF = 2 Waste collection not done by CBMWTF = 0 | SC, PHC, CHC, SDH and DH | 2
C2.3 | Disposal of waste by burial pit method | OB and RR | Method: Observe the burial pit. These are underground earthern pits. Check the pit size and waste dumping record book. Applicable Only for rural facilities where CBMWTF located beyond 75km | Burial pit available: Yes/No Logbook maintained: Yes/No | For all types of facility Burial pits/shallow pit present and waste disposal record maintained = 2 Burial pit/shallow pit present but waste disposal records not maintained = 1 No burial pits/shallow pit available = 0 | SC, PHC, CHC, SDH and DH | 2
C2.4 | Disposal of waste by sharp pit method | OB and RR | Method: Observe the sharp pit. These are underground concrete pits. Check the pit size and waste dumping record book. Applicable Only for rural facilities where CBMWTF located beyond 75km | Sharp pit available: Yes/No Logbook maintained: Yes/No | For all types of facility Sharp pit present and waste disposal record maintained = 2 Sharp pit present but waste disposal records not maintained = 1 No sharp pit available = 0 | SC, PHC, CHC, SDH and DH | 2
C2.5 | Treatment of sharp waste | RR | Method: Check the log book for autoclave and shredding of waste | Waste autoclaved: Yes/No Waste shredded: Yes/No | For all types of facility Waste autoclaved and shredded before disposal= 2 Waste either only autoclaved or only shredded before disposal= 1 Waste neither autoclaved nor shredded before disposal= 0 | SC, PHC, CHC, SDH and DH | 2
C2.6 | Availability of compost pit for wet waste | OB | Method: Compost pits are maintained over the ground if aerobic and partially over the ground if anaerobic. Observe the compost pit maintained for dry and wet waste. Biodegradable waste generated from the kitchen is wet waste. | Compost pit available: Yes/No | For PHC, CHC, SDH and DH Compost pit maintained for management of wet waste = 2 No compost pit available = 0 | PHC, CHC, SDH and DH | 2
C2.7 | Availability of compost pit for dry waste | OB | Method: Compost pits are maintained over the ground if aerobic and partially over the ground if anaerobic. Observe the compost pit maintained for dry and wet waste. Bulk garden and horticulture waste are dry waste. | Compost pit available: Yes/No | For all types of facility Compost pit available for management of dry waste =2 No compost pit available = 0 | SC, PHC, CHC, SDH and DH | 2
C2.8 | Collection of solid waste by Municipal/Local authority | RR | Method: Check the annual or monthly record or bill of waste collection by concerned authority for safe handling of solid waste. | Waste Collected by municipal/Local Authority:Yes/No | For all types of facilities Solid Waste collected by Municipal/Local authority on daily basis= 2 Solid waste dumped in open area /burnt = 0 | SC, PHC, CHC, SDH and DH | 2
C3. | Knowledge and Capacity Building | [5 empty] | 4
C3.1 | Establishment of committee for implementation of waste management measures | RR | Method: Check the committee establishment order and minutes of meeting conducted | Committee established: Yes/No Date of last meeting: | For all types of facility Committee established and meeting conducted annually = 2 Committee established but meeting not conducted within 1 year = 1 Committee not established = 0 | SC, PHC, CHC, SDH and DH | 2
C3.2 | Display of IEC material on waste minimisation and segregation | OB | Method: Observe if there are IEC materials on waste minimization and segregation displayed in the facility approved by MoHFW/MoEFCC. | Relevant IEC displayed in the facility: Yes/No | For all types of facilities Fully Complied (At least one relevant IEC material on waste minimization and segregation displayed within facility)= 2 Not Complied (No relevant IEC material on waste minimization and segregation displayed within facility) = 0 | SC, PHC, CHC, SDH and DH | 2
D. | Smart & Green Building | [5 empty] | 36
D1. | Smart Services | [5 empty] | 10
D1.1 | Disabled friendly access for patients and staff | OB | Method: Check for ramps at entry/exit gates and within the building to access higher floors, and handrails at entry/exit gates, staircases, and toilets. | Ramps/Lift available: Yes/No | For all types of facility Facility has ramps / lifts for disabled friendly access = 2 Disabled friendly access not adequately available as per IPHS = 0 | SC, PHC, CHC, SDH and DH | 2
D1.2 | Availability of disabled-friendly toilets | OB | Method: Check if disabled friendly toilets available in the facility. | Disabled friendly toilets available: Yes/No | For SC Disabled friendly toilet/amenities available in the facility =2 Disabled friendly toilet/amenities not available in the facility = 0 For PHC, CHC, SDH and DH Separate disabled-friendly toilet is available in the facility = 2 Seperate disabled-friendly toilet is not available in the facility = 0 | SC, PHC, CHC, SDH and DH | 2
D1.3 | Availability of an electric vehicle fleet for patient transport | RR/OB | Method: Check the vehicle/ambulances , if they are electric or not | Availability of an electric vehicle fleet for patient transport:Yes/No | For PHC, CHC, SDH and DH Facility has electric vehicle fleet for patient transport= 2 Facility do not have electric vehicle fleet for patient transport = 0 | PHC, CHC, SDH and DH | 2
D1.4 | Availability of electronic data recording system | OB | Method: Check if electronic data recording such as HIMS/LIMS is maintained at the facility to record patient, staff and operational services. | Electronic data recording system available: Yes/No | For PHC, CHC, SDH and DH Facility has an electronic data recording system to maintain staff & patient data and to manage laboratory operations. =2 Facility has an electronic data recording system to maintain staff & patient data or to manage laboratory operations=1 Facility does not maintain any electronic data recording system=0 | PHC, CHC, SDH and DH | 2
D1.5 | Whether the facility has telemedicine facilities | OB/SI | Method: Check whether the facility has functional telemedicine services available or not | Availability of telemedicine services for consultation services: Yes/No | For PHC, CHC, SDH and DH Facility has telemedicine services = 2 Facility do not have telemedicine services = 0 |  | 2
D2. | Fire Safety | [5 empty] | 16
D2.1 | Availability of fire exit on each floor of the facility | OB | Method: Check whether the alternative passage available in the facility for fire exit. A separate exit (other than common entrance) to be used in case of emergency/fire event. | Fire exit available on each floor: Yes/No | For all types of facility Fire exit is available on each floor of the facility = 2 Fire exit is available on some floors of the facility = 1 No separate fire exit is available in the facility = 0 | SC, PHC, CHC, SDH and DH | 2
D2.2 | Availability of Illuminated fire exit signages | OB | Method: Check the availability of fire exit signages (illuminated) on fire exit path. Illuminated/Radium signages should be provided for directing towards fire exit point for early evacuation on each floor of the facility. | Fire exit signages available: Yes/No | For all types of facility Fire exit signages are available on each floor of facility = 2 Fire exit signages are available on some floors of facility = 1 No fire exit signages are available in the facility = 0 | SC, PHC, CHC, SDH and DH | 2
D2.3 | Availability of fire fighting equipment on each floor | OB | Method: Check the fire fighting equipment such as fire extinguishers, fire buckets, sprinklers, hose reel etc. installed in the facility. Fire extinguishers have to be installed in locations such as wards, corridors, waiting area, OT, Laboratory, labour room, cold chaon rooms etc. within the facility. | Fire fighting equipment available in the facility: Yes/No | For all types of facility Fire fighting equipment available on each floor = 2 Fire fighting equipment are available on some floors = 1 Fire fighting equipment not available in the facility = 0 | SC, PHC, CHC, SDH and DH | 2
D2.4 | Display of evacuation plan in the facility | OB | Method: Check the fire evacuation layout plan displayed on every floor of the facility. Fire Exit evacuation layout should be in the bilingual language at a distance of 30 m from a visible exit directional sign. | Fire evacuation plan displayed: Yes/No | For all types of facility Fire evacuation plan displayed on each floor of the facility = 2 Fire evacuation plan displayed on some floors of the facility = 1 Fire evacuation is not displayed anywhere in the facility =0 | SC, PHC, CHC, SDH and DH | 2
D2.5 | Installation of fire alarm system in the facility | OB | Method: Check the fire alarm system installed on every floor of the facility. | Fire alarm system installed: Yes/No | For all types of facility Fire alarm installed on each floor of facility = 2 Fire alarm installed on some floors of facility = 1 Fire alarm not installed in the facility =0 | SC, PHC, CHC, SDH and DH | 2
D2.6 | Fire Safety audit | RR | Method: Check for the most recent fire Safety audit report of the health facility. | Fire Safety audit of the health facility conducted or not: Yes/No | For PHC, CHC, SDH and DH Facilty has never conducted fire Safety audit within last 5 years = 0 Facilty has conducted fire Safety audit within last 2-5 years = 1 Facilty has conducted fire Safety audit in last one year = 2 | PHC, CHC, SDH and DH | 2 | Date of Audit
D2.7 | NOC from fire safety department | RR | Method: Check for the latest NOC issued by the fire safety departement to the health facility | NOC issued by fire safety department: Yes/No | For PHC, CHC, SDH and DH Facilty has not received NOC from fire safety department = 0 Facilty has received NOC from fire safety department = 2 | PHC, CHC, SDH and DH | 2
D2.8 | NOC from electrical inspectorate/electricity board of state government | RR | Method: Check for the latest NOC issued by the electrical inspectorate/electricity board of state government to the health facility | NOC issued by the electrical inspectorate/electricity board of state government: Yes/No | For PHC, CHC, SDH and DH NOC not issued by electrical inspectorate/electricity board of state government = 0 NOC issued by electrical inspectorate/electricity board of state government = 2 | PHC, CHC, SDH and DH | 2
D3. | Green Measures | [5 empty] | 10
D3.1 | Availability of natural ventilation in the facility | OB | Method: Check for natural ventilation in rooms such as OPDs, waiting area, Labour room, administrative block, IPDs etc. | No. of rooms with openable windows: Total no. of identified rooms: | For all types of facility More than 90% of identified rooms have openable windows = 2 50-90% of identified rooms have openable windows = 1 Less than 50% of identified rooms have openable windows = 0 | SC, PHC, CHC, SDH and DH | 2
D3.2 | Adoption of insulation measures in the facility | OB | Method: Observe doors and windows exposed to outdoor walls and entry and exit passageways, that all should be insulated. The insulation is provided to avoid heat losses. Check the type of panel glass installed in the facility. High-performance glasses have high insulation properties, block heat loss, reduce cooling requirements, and help optimise energy consumption. | No. of insulated doors and windows: Total no. of doors and windows: | For CHC, SDH and DH More than 90% of windows and doors are insulated = 2 50-90% of windows and doors are insulated = 1 Less than 50% of windows and doors are insulated = 0 | CHC, SDH and DH | 2
D3.3 | Adoption of green procurement policy by the facility (Applicable if state has mandated green procurement policy) | RR | Method: Check for the availability of any state policy on green procurement. If available check procurement records to assess adherence to the policy. If no policy exit in state, facility shall get score as fully complied. The most easily recyclable plastics, such as polyethylene, polypropylene and polyethylene terephthalate (PET) shall be preferred over polyvinyl chloride (PVC) is challenging to recycle. Procure latex or nitrile gloves instead of PVC gloves, Latex or silicone tubing can replace PVC tubing. Ethylene vinyl acetate bags can replace PVC bags for saline and blood. | Existing Green Procurement policy at State level : Yes/No Green procurement policy adopted by facility: Yes/No | For PHC, CHC, SDH and DH Facility follows a green procurement policy as mandated by State= 2 Facility does not follow a green procurement policy mandated by State = 0 | PHC, CHC, SDH and DH | 2
D3.4 | Availability of outdoor gardens for stress relieving | OB | Method: Observe the outdoor garden maintained for stress relieving activities and Yoga. | Outdoor garden maintained: Yes/No | For PHC, CHC, SDH and DH Facility has maintained outdoor garden= 2 Facility has not maintained outdoor garden = 0 | PHC, CHC, SDH and DH | 2
D3.5 | Availability of herbal and kitchen garden | OB | Method: Observe if herbal and Kitchen garden maintained. | Herbal garden maintained: Yes/No Kitchen garden maintained: Yes/No | For PHC, CHC, SDH and DH Facility has maintained both herbal and kitchen garden= 2 Facility has maintained either herbal or kitchen garden=1 Facility has not maintained both herbal and kitchen garden = 0 | PHC, CHC, SDH and DH | 2
E. | Climate Resilient Measures | [5 empty] | 32
E1. | Structural Elements | [5 empty] | 6
E1.1 | Structural audit | RR | Method: Check for the most recent structural audit report for the health facility. | Structural audit of the health facility conducted or not: Yes/No | For PHC, CHC, SDH and DH Facilty has not conducted structural audit in last five years = 0 Facilty has conducted structural audit in last five years = 2 | PHC, CHC, SDH and DH | 2 | Date of Audit
E1.2 | Implementation of retrofitting measures to avoid damage due to extreme weather events | RR and OB | Method: Observe for retrofitting measures taken by the facility and check the retrofitted facility revised layout plans. The retrofitting of the facility is applicable to flood-prone areas. The common retrofitting measures are retaining wall, benching of slopes, stabilization of slopes, rock anchors, wire mesh etc., undertaken to minimize landslide, shrinkage or settlement of land. Applicable to disaster prone area, facility shall be considered as compliant. | Retrofitting measure undertaken:Yes/No | For PHC, CHC, SDH and DH Retrofitting measures implemented to minimize the impact of extreme weather events= 2 Retrofitting measures not implemented to minimize the impact of extreme weather events = 0 | PHC, CHC, SDH and DH | 2
E1.3 | Implementation of flood resilient measures | OB | Method: Observe the height of the plinth level (ground floor) of the facility, it should be atleast 2 ft above the ground level. | Height of plinth from ground level: | For all types of facility Plinth level of facility is atleast 2 ft above ground level = 2 Plinth level of facility is less than 2 ft from ground level = 0 | SC, PHC, CHC, SDH and DH | 2
E2. | Non-Structural Elements | [5 empty] | 14
E2.1 | Availability of buffer stock of essential supplies during and after extreme weather events | RR | Method: Check the buffer stock availability as per IPHS guidelines in reference to stock and indent record for relevant months. The buffer stock of essential supplies through supply chain record required during heat wave period including adequate supply of essential medicines, intravenous fluids, ice packs, ORS, sufficient drinking water, and constant electricity to maintain the continued functioning of cooling appliances | Buffer stock available for atleast 30 days: Yes/No | For all types of facility Buffer stock of essential items is maintained for atleast 30 days = 2 Buffer stock of some of the essential items is maintained = 1 Buffer stock of essential items is not maintained = 0 | SC, PHC, CHC, SDH and DH | 2
E2.2 | Maintenance of drains or stormwater outlets in the facility | OB | Method: Observe the drainage channel maintained in facility. Drain Channel should be covered with a perforated lid, to avoid stagnation of silt and garbage. Drains have to be cleaned regularly to avoid water stagnation. | Drain are cleaned: Yes/No | For PHC, CHC, SDH and DH All drains or stormwater outlet points are clean = 2 Drains/ stormwater outlets points are clogged = 0 | PHC, CHC, SDH and DH | 2
E2.3 | Placement of critical equipment in the facility | OB | Method: Observe the placement of critical equipment, whether placed on a higher floor or have provision to shift to a higher floor during emergencies. Applicable to flood-prone areas. | Critical equipment placed adequately:Yes/No | For PHC, CHC, SDH and DH All critical equipment maintained at higher floors or provision available to shift at higher floors = 2 Some of the critical equipment maintained at higher floor = 1 Critical equipment not maintained at higher floor or there is no provision to shift to higher floor = 0 | PHC, CHC, SDH and DH | 2
E2.4 | Heat preparedness measures in the facility for rapid cooling | RR | Method: Check the availability and functionality of cooling appliances such as Fans, AC, Coolers etc. in heat stroke rooms/makeshift ward during heat wave period. | Functional ACs/Coolers/Other cooling appliances available in heat stroke room/makeshift ward: Yes/No | For PHC, CHC, SDH and DH The facility has provision of functional ACs/Coolers/Other cooling appliances in heat stroke room/makeshift ward = 2 The facility has provision of ACs/Coolers/Other cooling appliances in heat stroke room/makeshift ward but not functional = 1 No cooling appliance available in heat stroke room/makeshift ward to manage heat related illness= 0 | PHC, CHC, SDH and DH | 2
E2.5 | Availability of heat stroke beds or makeshift wards for management of heat related illnesses | OB | Method: Check the provision of beds for heat stroke related illnesses / makeshift ward during heat wave period. | Provision for heat stroke beds/makeshift wards available:Yes/No | For PHC, CHC, SDH and DH The facility has provision for heat stroke beds/make shift ward = 2 No provision for heat stroke beds/makeshift ward = 0 | PHC, CHC, SDH and DH | 2
E2.6 | Availability of continuous water source/storage to meet the hospital requirements during extreme weather events | OB | Method: Observe the water source/storage and check whether the source is regular or intermittent and if extra storage provided to meet the water demand during emergencies. | Continuous water supply/water storage for atleast 3 days available: Yes/No | For PHC, CHC, SDH and DH Continuous water source is maintained or extra storage provided for emergency use for atleast 3 days= 2 No continuous water source or extra storage provided in the facility for emergency use = 0 | PHC, CHC, SDH and DH | 2
E2.7 | Availability of power back up to meet the energy demand during extreme weather events | OB | Method: Check the power back up (Generators/Battery backup/Solar) for the health facility. Note: If the facility has installed a Diesel Generator as power backup for emergencies, it shall comply with Environmental (Protection) Amendment (Third Amendment) Rules, 2013. | Continuous power backup available: Yes/No | For PHC, CHC, SDH and DH An alternate green energy source (Solar powered Battery Backup) is maintained for emergency = 2 An alternate energy source (Diesel Generator compliant with EPA norms/Battery Backup) is maintained for emergency = 1 No alternate power source is maintained = 0 | PHC, CHC, SDH and DH | 2
E3. | Training and Capacity building | [5 empty] | 12
E3.1 | Establishment of functional committee for disaster preparedness | RR | Method: Check the committee establishment order and meeting minutes | Committee established: Yes/No Date of last meeting: | For PHC, CHC, SDH and DH Committee established and conducted meetings in last one year= 2 Committee established but meeting not conducted in last one year = 1 Committee not established = 0 | PHC, CHC, SDH and DH | 2
E3.2 | Availability of disaster preparedness plan for the facility that includes climate induced disasters | RR | Method: Check if the disaster preparedness plan developed by the facility covering common climate-induced disasters such as floods, cyclone, fires | Plan available: Yes/No | For PHC, CHC, SDH and DH Disaster preparedness plan developed and covers the climate-induced disasters=2 Disaster preparedness plan developed but climate-induced disasters not covered=1 Disaster preparedness plan not developed = 0 | PHC, CHC, SDH and DH | 2
E3.3 | Availability of Emergency Communication Plan | RR | Method: Check the communication plan of the facility for all the phases of disaster. Clear communication system is required to coordinate with staff, patients, care taker and external agencies during early warning phase, during the disaster and post disasters phases. | Plan available: Yes/No | For PHC, CHC, SDH and DH Emergency communication plan available = 2 Emergency communication plan not available = 0 | PHC, CHC, SDH and DH | 2
E3.4 | Availability of emergency plan for evacuation/sheltering /resettlement | RR | Method: Check the availability of emergency plans for evacuation, resettlement, and sheltering during early warning, disaster and disaster phases. | Plan available: Yes/No | For PHC, CHC, SDH and DH Emergency plan developed for all phases of disaster = 2 Emergency plan not developed for all phases of disaster = 0 | PHC, CHC, SDH and DH | 2
E3.5 | Training programme for healthcare staff on disaster preparedness in last one year | RR | Method: Observe the mock drill and training record maintained by the facility on disaster preparedness, if done in the last one year. | No. of staff trained: Total no. of staff to be trained: | For PHC, CHC, SDH and DH More than 90% of healthcare staff trained to respond during disaster = 2 50-90% of the healthcare staff trained to respond during disaster = 1 Less than 50% of healthcare staff trained to respond during disaster = 0 | PHC, CHC, SDH and DH | 2
E3.6 | Display of IEC material on extreme weather events and disaster preparedness | OB | Method: Observe if there are IEC materials on extreme weather events displayed in the facility as approved by NCDC, NDMA/SDMA. | IEC displayed: Yes/No | For all types of facilities Fully Complied (At least one of relevant IEC material on extreme weather events displayed within facility)= 2 Not Complied (No relevant IEC material on extreme weather events displayed within facility) = 0 | SC, PHC, CHC, SDH and DH | 2
[5 empty] | Maximum Score of Facility |  | 150
Note on H103: Author: Maximum Score for CHC, SDH and DH is 150 Maximum Score for bedded PHC is 146 Maximum score for SC & Non bedded PHC is 90

## Scoring_Frontend
GCR Scorecard
Energy Efficiency |  | Water Conservation |  | Waste Management
25 |  | 30 |  | 26
Normalized score of facility is 99.33
Smart Green Building |  |  | Climate Resilient
36 |  |  | 32
99.33
The facility is classified as
Grade 1
Facility
Facility Grading |  |  | Normalized Score
Grade 1 - Least climate vulnerable and highly sustainable (Model Green and Climate Resilient Facility) | Grade 4 - Least climate vulnerable and highly sustainable (Model Green and Climate Resilient Facility) |  | >85
Grade 2 - Moderately climate vulnerable and moderately sustainable |  |  | 56-85
Grade 3 - Highly climate vulnerable and Less sustainable |  |  | 26-55
Grade 4- Severely climate vulnerable and least sustainable |  |  | ≤25

## Recommendation
S.No. | Indicators | Impact |  | Weightage | Assessment Score | Recommendations | Carbon Saving | Reference | Description
|  | Mode of Impact | Magnitude of impact | [6 empty] | Impact Assessment criteria | Criteria |  | Weights | 2 | 1 | 0
1 | Status of installation of LED lights in the facility | Direct | High | 1 | 1 | High Priority Action points | Save 6.38 kg of CO2/year by replacing 10W CFL with LED (Average operation of 5 hours a day) | https://www.theclimategroup.org/led https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator | 10 W CFL = 6W LED Daily Saving 20 W Annual Saving = 7.3kW Co2 saving = 0.875*7.3=6.38 kg | Mode of Impact: Direct (1) and Indirect (0.5) Magnitude of Impact (In term of CO2 saved): Low (0.3), medium (0.6), high (1) Mode of impact - How actions are turning into results. E.g. lights changes to LED, then I can directly see the results in terms of saving, etc. For Energy audit will not results in direct change, unless I worked upon the recommendation of the audit. Magnitude - How much energy saved, accessibility increased, CO2 saved, etc. and the amount saved per action would decided the level as High or Low. High - one action saved a considerable amount. | Direct | High | 1 | 3 | 2 | 1
2 | Use of eco-friendly cooling appliances in the facility | Direct | High | 1 | 2 | No Recommendation | Save 90,900 kg of CO2 equivalent by replacing CFC with HCFC (calculated for CFC-12 and HCFC-22 ) | https://www.epa.gov/climate-hfcs-reduction/management-certain-hydrofluorocarbons-and-substitutes-under-subsection-h https://www.ipcc.ch/site/assets/uploads/2018/02/SYR_AR5_FINAL_full.pdf | GWP of CFC-12:10900 GWP of HCFC-22=1810 1 kg of refrigerant replacement: 10900-1810=9090 kg of CO2 Annual saving = 90900 kg of C02 |  | Direct | Medium | 0.6 | 2.6 | 1.6 | 0.6
3 | Availability of energy efficient electrical appliances in the facility | Direct | Medium | 0.6 | 2 | No Recommendation | Save 221.76 kg CO₂/year by replacing 1 star AC to 3 star and 393.42 kg CO₂/year by replacing with 5 star AC (1 ton AC 8 hours operation for 180 days in a year) | https://beestarlabel.com/Content/Files/Session_2.pdf https://beestarlabel.com/SearchCompare https://www3.epa.gov/ttnchie1/conference/ei20/session5/mmittal.pdf | 1 star AC EER: 2.7 Annual Power: 3.5kW*8*180/2.7 = 1867 kWh/y Annual CO₂ : 1,867.2*0.92 kg = 1,718.22 kg CO₂/year 3 star AC EER: 3.1 Annual Power: 3.5kW*8*180/3.1 = 1628 kWh/y Annual CO₂: 1,628.16 * 0.92 = 1,498.91 kg CO₂/year 5 star AC EER: 3.5 Annual Power: 3.5kW*8*180/3.5 = 1440 kWh/y Annual CO₂: 1,440 * 0.92 = 1,324.8 kg CO₂/year |  | Direct | Low | 0.33 | 2.33 | 1.33 | 0.33
4 | Availability of sufficient natural light in the facility | Indirect | High | 0.5 | 2 | No Recommendation |  |  |  |  | Indirect | High | 0.5 | 2.5 | 1.5 | 0.5
5 | Availability of Occupancy Sensors (Motion Sensor) lighting in facility | Direct | Low | 0.33 | 2 | No Recommendation | Save 14.1 kg CO₂/year per 10W LED bulb having 12 hour operation | https://www.rayzeek.com/blog/do-motion-sensor-light-switches-save-energy#:~:text=Given%20a%20common%20LED%20power,to%202.4%20hours%20per%20day. https://www.mdpi.com/2571-5577/1/3/23https://www.mdpi.com/2571-5577/1/3/23 | Normal LED: 0.12kW*365 = 43.8kWh/y Sensor LED: 0.12*0.65*365 = 28.47 kWh/y Co2 saved: 15.33*0.92=14.1 |  | Indirect | Medium | 0.3 | 2.3 | 1.3 | 0.3
6 | Energy audit conducted in the facility | Indirect | Medium | 0.3 | 1 | Low Priority Action Points |  |  |  |  | Indirect | Low | 0.15 | 2.15 | 1.15 | 0.15
7 | Installation of stabilizers/sub-meter to optimize the energy consumption in the facility | Indirect | Medium | 0.3 | 2 | No Recommendation
8 | Availability of energy efficient Heating, ventilation and air conditioning (HVAC) system | Direct | Medium | 0.6 | 2 | No Recommendation
9 | Availability of functional solar panel system | Direct | High | 1 | 0 | High Priority Action points | Annual saving 6.716 metric tons CO₂/year for generating 5kW of energy | https://www3.epa.gov/ttnchie1/conference/ei20/session5/mmittal.pdf | Annual energy generation: 5*4*365=7300kWh/y Co2 saving = 7300*0.92 = 6.716 ton CO2/yr
10 | Capacity of the installed solar panels | Direct | High | 1 | 2 | No Recommendation
11 | Display of IEC materials on energy conservation measures | Indirect | Low | 0.15 | 2 | No Recommendation
12 | Establishment of committee for implementation of energy conservation measures | Indirect | Low | 0.15 | 2 | No Recommendation
13 | Training programme for healthcare staff on Energy and Water Conservation, Waste Management and development of green and climate resilient health facility in last one year | Indirect | High | 0.5 | 2 | No Recommendation
14 | Optimal utilization of water in the facility | Direct | Medium | 0.6 | 2 | No Recommendation | Save 3.22 kg of CO2 per 1000 litre of saving water (Energy saving w.r.t. water treatment, water distribution and storage) | https://www.waterwise.org.uk/wp-content/uploads/2018/02/Energy-Saving-Trust-2009_Quantifying-the-Energy-and-Carbon-Effects-of-Water-Saving_Full-Technical-Report.pdf
15 | Testing of water samples in the facility | Direct | Medium | 0.6 | 2 | No Recommendation
16 | Treatment of water before consumption | Direct | Medium | 0.6 | 2 | No Recommendation
17 | Is the water storage tank (s)cleaned regularly? | Direct | Low | 0.33 | 2 | No Recommendation
18 | Status of water audit | Indirect | Medium | 0.3 | 1 | Low Priority Action Points
19 | Installation of Rain Water Harvesting (RWH) system | Direct | High | 1 | 2 | No Recommendation | Save 3.22 kg CO₂ per 1000 litre of water conservation | https://wint.ai/wp-content/uploads/2022/02/White-paper-Carbon-Impact-of-Water-Consumption-Final.pdf | Energy for water treatment: 2kWh/1000 lit Energy for transmission: 1.5kWh/1000 lit Co2 saved: 3.5*0.92= 3.22
20 | Installation of water efficient faucets | Direct | Medium | 0.6 | 1 | Moderate Priority Action Point | Save 75% of water compared to conventional faucets | https://mohua.gov.in/upload/uploadfiles/files/Part-A-Chapter-15-Water-Efficient-Plumbing-Fixtures.pdf
21 | Installation of water efficient sanitary fittings | Direct | Medium | 0.6 | 1 | Moderate Priority Action Point | Save 50% of water compared to conventional fittings | https://mohua.gov.in/upload/uploadfiles/files/Part-A-Chapter-15-Water-Efficient-Plumbing-Fixtures.pdf
22 | Monitoring of plumbing fixtures for detection of leaks | Direct | Low | 0.33 | 2 | No Recommendation
23 | Installation of Effluent Treatment Plant (ETP) | Direct | High | 1 | 2 | No Recommendation | Save 80% of consumed water and convert it into usable water | https://ncrpb.nic.in/NCRBP%20ADB-TA%207055/repository/pdf/clause/para3.2.4.pdf
24 | Status of compliance to discharge standards for ETP | Direct | High | 1 | 2 | No Recommendation
25 | Utilization of treated wastewater | Direct | Medium | 0.6 | 2 | No Recommendation
26 | Availability of septic tank/soak pit for disposal of wastewater | Direct | High | 1 | 2 | No Recommendation
27 | Establishment of committee for implementation of water conservation measures | Indirect | Low | 0.15 | 2 | No Recommendation
28 | Display of IEC material on water conservation measures | Indirect | Low | 0.15 | 2 | No Recommendation
29 | Status of waste audit | Indirect | Medium | 0.3 | 2 | No Recommendation
30 | Segregation of Biomedical Waste | Direct | High | 1 | 2 | No Recommendation | Reduce 90% of hazardous waste | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC5784295/ https://cpcb.nic.in/uploads/Projects/Bio-Medical-Waste/Guidelines_healthcare_June_2018.pdf
31 | Segregation of Recyclable and Biodegradable Wastes | Direct | Medium | 0.6 | 2 | No Recommendation
32 | BMW collection from health facility | Direct | Low | 0.33 | 2 | No Recommendation
33 | Collection of BMW by common bio-medical waste treatment facility (CBMWTF). | Direct | High | 1 | 1 | High Priority Action points
34 | Disposal of waste by burial pit method | Direct | High | 1 | 1 | High Priority Action points
35 | Disposal of waste by sharp pit method | Direct | High | 1 | 2 | No Recommendation
36 | Treatment of sharp waste | Direct | Medium | 0.6 | 2 | No Recommendation
37 | Availability of compost pit for wet waste | Direct | Medium | 0.6 | 2 | No Recommendation
38 | Availability of compost pit for dry waste | Direct | Medium | 0.6 | 2 | No Recommendation
39 | Collection of solid waste by Municipal/Local authority | Indirect | Medium | 0.3 | 2 | No Recommendation
40 | Establishment of committee for implementation of waste management measures | Indirect | Low | 0.15 | 2 | No Recommendation
41 | Display of IEC material on waste minimisation and segregation | Indirect | Low | 0.15 | 2 | No Recommendation
42 | Disabled friendly access for patients and staff | Direct | High | 1 | 2 | No Recommendation
43 | Availability of disabled-friendly toilets | Direct | Medium | 0.6 | 1 | Moderate Priority Action Point
44 | Availability of an electric vehicle fleet for patient transport | Direct | Medium | 0.6 | 2 | No Recommendation | 4W EV can reduce the emission of 7 and 5.7 tonne of CO2 emission in lifetime considering 15 year of operation while running 10000 km per year compared to petrol and diesel vehicle, resp | https://e-amrit.niti.gov.in/co2-calculator
45 | Availability of electronic data recording system | Direct | Medium | 0.6 | 2 | No Recommendation
46 | Availability of tele-medicine facilities | Direct | low | 0.33 | 2 | No Recommendation
47 | Availability of fire exit on each floor of the facility | Direct | High | 1 | 2 | No Recommendation
48 | Availability of Illuminated fire exit signages | Direct | Medium | 0.6 | 2 | No Recommendation
49 | Availability of fire fighting equipment on each floor | Direct | High | 1 | 2 | No Recommendation
50 | Display of evacuation plan in the facility | Direct | Medium | 0.6 | 2 | No Recommendation
51 | Installation of fire alarm system in the facility | Direct | High | 1 | 2 | No Recommendation
52 | Fire Safety Audit conducted | Indirect | Low | 0.15 | 2 | No Recommendation
53 | NOC from fire safety department | Indirect | Low | 0.15 | 2 | No Recommendation
54 | NOC from electricity board | Indirect | Low | 0.15 | 2 | No Recommendation
55 | Availability of natural ventilation in the facility | Direct | High | 1 | 2 | No Recommendation
56 | Adoption of insulation measures in the facility | Indirect | Medium | 0.3 | 2 | No Recommendation
57 | Adoption of green procurement policy by the facility (Applicable if state has mandated green procurement policy) | Indirect | Medium | 0.3 | 2 | No Recommendation
58 | Availability of outdoor gardens for stress relieving | Direct | Low | 0.33 | 2 | No Recommendation
59 | Availability of herbal and kitchen garden | Direct | Low | 0.33 | 2 | No Recommendation
60 | Structural Audit | Indirect | Low | 0.15 | 2 | No Recommendation
61 | Implementation of retrofitting measures to avoid damage due to extreme weather events | Direct | High | 1 | 2 | No Recommendation
62 | Implementation of flood resilient measures | Direct | High | 1 | 2 | No Recommendation
63 | Availability of buffer stock of essential supplies during and after extreme weather events | Direct | Medium | 0.6 | 0 | Moderate Priority Action points
64 | Maintenance of drains or stormwater outlets in the facility | Direct | Medium | 0.6 | 1 | Moderate Priority Action Point
65 | Placement of critical equipment in the facility | Direct | Low | 0.33 | 2 | No Recommendation
66 | Heat preparedness measures in the facility for rapid cooling | Direct | Medium | 0.6 | 2 | No Recommendation
67 | Availability of heat stroke beds or makeshift wards for management of heat related illnesses | Direct | Medium | 0.6 | 2 | No Recommendation
68 | Availability of continuous water source/storage to meet the hospital requirements during extreme weather events | Direct | High | 1 | 1 | High Priority Action points
69 | Availability of power back up to meet the energy demand during extreme weather events | Direct | High | 1 | 2 | No Recommendation
70 | Establishment of functional committee for disaster preparedness | Indirect | Low | 0.15 | 2 | No Recommendation
71 | Availability of disaster preparedness plan for the facility that includes climate induced disasters | Indirect | Medium | 0.3 | 2 | No Recommendation
72 | Availability of Emergency Communication Plan | Indirect | Medium | 0.3 | 2 | No Recommendation
73 | Availability of emergency plan for evacuation/sheltering /resettlement | Indirect | Medium | 0.3 | 2 | No Recommendation
74 | Training programme for healthcare staff on disaster preparedness in last one year | Indirect | High | 0.5 | 2 | No Recommendation
75 | Display of IEC material on extreme weather events and disaster preparedness | Indirect | Low | 0.15 | 2 | No Recommendation

## Annexure I (hidden)
Annexure I
List of medicines/equipment for emergency situations
1. Emergency Health Kit- Medicines and medical equipment to meet the initial primary healthcare needs of a population of 10,000 people for three months.
Basic Unit: The basic unit contains essential medicines and medical devices (consumables and equipment) for a population of 1,000 persons for a period of three (3) months during emergency situations.
Medicines
S.No. | Quantity | Description
1 | 2 | Albendazole 400mg chewable tabs/PAC-100
2 | 1 | Omeprazole 20mg capsules (e/c) PAC/10x10
3 | 30 | Amoxicillin 250mg disp.tab/PAC-100
4 | 1 | Benzyl benzoate 25% lotion /BOT-1000ml
5 | 1 | Chlorhexidine conc. sol. 5%/BOT-1000ml
6 | 20 | Iron 60mg + Folic ac. 400mcg tab/PAC-100
7 | 12 | Povidone iodine sol 10%/BOT-200ml
8 | 40 | Ibuprofen 400mg tabs/PAC 10x10
9 | 20 | Miconazole nitrate cream 2%/TBE-30g
10 | 2 | ORS low osm 20.5 g/1L CAR/100
11 | 10 | Paracetamol 100mg disp.tab/PAC -100
12 | 20 | Paracetamol 500mg tabs/PAC-100
13 | 50 | Tetracycline eye ointment 1%/TBE-5g
14 | 10 | Zinc 20mg tablets/PAC-100
Medical devices - equipment
S.No. | Quantity | Description
1 | 1 | Basin,kidney,stainless steel,825ml
2 | 3 | Bottle ,plastic,1L,w/screw cap
3 | 1 | Bottle,plastic,250ml,wash bottle
4 | 1 | Bowl ,stainless steel,180ml
5 | 2 | Brush, hand, scrubbing ,plastic
6 | 2 | Drum ,sterilizing,165mm diam
7 | 2 | Scissors,Deaver,140mm,str,s/b
8 | 5 | Thermometer, clinical, digital, no Li
9 | 1 | Tray,dressing,ss,300x200x30mm
10 | 2 | Pail w/bail ,handle,polyethylene,10 litre
11 | 1 | Water cont,PVC/PE,10l,collaps.,w/o logo
12 | 2 | Surg.inst.,dressing /SET
Set contents
S.No. | Quantity | Description
1 | 1 | Forceps,dressing,standard,155mm,str
2 | 1 | Forceps ,artery,Kocher,140mm,str
3 | 1 | Scissors,Deaver,140mm,str,s/b
Medical devices - consumables
S.No. | Quantity | Description
1 | 20 | Bandage,elastic,7.5cmx5m,roll
2 | 200 | Bandage ,gauze,8cmx4m,roll
3 | 5 | Compress,gauze,10x10cm,n/ster/PAC-100
4 | 2 | Cotton wool,500g,roll,non-ster
5 | 1 | Gloves,exam,nitrile,pwdfree,M,BOX-100
6 | 10 | Soap ,toilet,bar,approx.110g,wrapped
7 | 30 | Medical tape,2.5cmx5m,roll